## Verification (hidden)
Work in Progress
Fabric Verification
Controllers
Fabric Topology
Management
APCI CLI
Spine CLI
Leaf CLI
APCI GUI OOB
APIC GUI InBand (Optional)
Domain Verification
VMM Verification
APIC Verification
vCenter Verification
Layer 2 External Brdige Domain
Layer 2 External EPG
External L3 (L3 Out)

## Index
PROPOSED GUI |  |  | EXCEL SECTION
SECTION | No | Menu Name | Item
SYSTEM SETTINGS
| 1 | SYSTEM SETTINGS | OOB Preference
Banner and alias
Aes Encryption
IP Aging
Remote EP Learning
Time Zone
MP BGP
ADMIN
| 2 | ADMIN | Security Domain
Local User
Export Policy
FABRIC DISCOVERY
| 3 | POD FABRIC SETUP | Pod and POD TEP Pool
| 4 | FABRIC MEMBERSHIP | Fabric Discovery
| 5 | NODE MANAGEMENT ADDRESS | OOB Management IP
Site Building
FABRIC POLICIES
| 6 | POLICIES | NTP Policy
SNMP Policy
ISIS Policy
Power Supply Policy
Fabric Node Controls
| 7 | SWITCH POLICY GROUP | Switch Policy Group
| 8 | SWITCH PROFILE | Switch Profile
| 9 | POD POLICY GROUP | Pod Policy Group
| 10 | POD PROFILE | Pod Profile
FABRIC ACCESS POLICIES
| 11 | POLICIES | Interface Policies
AEP
MCP
| 12 | POOLS | VLAN Pools
| 13 | DOMAIN | Physical Domain
L3 Routed Domain
TENANT 1
| 20 | TENANT | Tenant
TN_Policies
| 21 | VRF | VRF
| 22 | BRIDGE DOMAIN | Bridge Domain
TENANT 2
| 23 | APPLICATION PROFILE | Application Profile
| 24 | EPG | EPG
Filter
Contract
vzAny
Static Binding
Interface Description
TENANT 3
| 25 | L3OUT OSPF | L3out Node Profile OSPF
L3out Interface Profile OSPF
L3out EPG OSPF
| 26 | L3OOUT BGP | L3out BGP
L3out Node Profile BGP
L3out Interface Profile BGP
L3out EPG BGP

## SEC_System_Setting
# SYSTEM SETTNG
# OOB Preference
# System > System Settings > APIC Connectivity Preferences
key_start | apic_conn_pref | pref
Interface for ext connections
ooband
key_end
# System Alias and Banners
# System > System Settings > System Alias and Banners
key_start | banner | gui_alias | ctrl_cli_banner | sw_cli_banner | show_banner_message
GUI Alias | Controller CLI Banner | Switch CLI Banner | Show Banner Message
ACI-Sandbox | Application Policy Infrastructure Controller (ACI-Sandbox) |  | false
key_end
# Global AES Passphrase
# System > System Settings > Global AES Passphrase > Policy
key_start | aes_encrypt | strong_encrypt | passphrase
Enable Encryption | Passphrase
false
key_end
# Endpoint Controls IP Aging
# System > System Settings > Endpoints Controls> IP Aging > Policy
key_start | ip_aging | admin_state
Administrative State
disabled
key_end
# Fabric-Wide Settings
# System > System Settings > Fabric-Wide Settings
key_start | remote_ep_learning | admin_state
Disable Remote EP Learning
true
key_end
# Date and Time
# System > System Settings > Date and Time
key_start | timezone | format | desc | showOffset | tz
Display Format | Description | Offset State | Time Zone
local |  | enabled | p420_Asia-Jakarta
key_end
# BGP Route Reflector
# System > System Settings > BGP Route Reflector
key_start | rrasn | asn
Autonomous System Number
64880
key_end
# BGP RR Default Object
key_start | rrdesc | name | desc
Name | Description
default
key_end
# Route Reflector Nodes
key_start | rrnode | name | desc
Spine Node | Description
103
key_end

## SEC_Admin
#Admin
# Security Domain
# Admin > AAA > Security > Security Domain
key_start | secdom | name | desc
Name | Desicription
VMM_Security_Domain
key_end
# Users
# Admin > AAA > Security > Users
# Configure Local User
key_start | aaaUser | username | password | email | phone | firstname | lastname
Username | Password | email | phone | firstname | lastname
key_end
# Attach Security Domains and Set read/write previledge
key_start | aaaUserDomain | username | secdom | role | access_type
Username | Security Domain | User Role | Access Type
key_end
# Remote Locations
# Admin > Import/Export > Remote Locations
key_start | remote_loc | name | desc | protocol | port | ip | path | username | password | management | epg
Name | Description | Protocol | Remote Port | Hostname or IP Address | Remote Path | Username | Password | Management | Management EPG
Remote-Location-Backup1 |  | sftp | 22 | 10.10.10.1 | /uploads/backup_aci | admin | CiscoTsel101 | oob | default
Remote-Location-Backup2 |  | sftp | 22 | 10.10.10.2 | /uploads/backup_aci | admin | CiscoTsel101 | inb | inb
key_end
# Schedulers
# Admin > Schedulers > Fabric
key_start | schedulers | name | recurrName | hour | minute
Name | Recurring Name | Hours | Minute
Every12Hours | FirstHour | 0 | 0
Every12Hours | SecondHour | 12 | 0
Every8Hours | FirstHour | 1 | 0
Every8Hours | SecondHour | 9 | 0
Every8Hours | ThirdHour | 17 | 0
key_end
# Export Policies
# Admin > Import/Export > Export Policies > Configuration
key_start | export_config | name | desc | start | format | schedulers | remote_loc
Name | Description | Start Now | Format | Schedulers | Remote Locations
Export-Policies-Backup1 |  | triggered | json | Every8Hours | Remote-Location-Backup1
Export-Policies-Backup2 |  | triggered | xml | Every12Hours | Remote-Location-Backup2
key_end

## SEC_Fabric_Discovery
# FABRIC DISCOVERY
# Pod Fabric Setup
# Fabric > Inventory > Pod Fabric Setup Policy
key_start | mpod_tep_pool | pod_id | tep_pool
Pod ID | TEP Pool
key_end
# Fabric Membership
# Fabric > Inventory > Fabric Membership
key_start | fab_discovery | name | serial | nodeid | pod | role
Name | Serial Number | Node ID | POD | Role
LEAF-201 | TEP-1-101 | 201 | 1 | leaf
LEAF-202 | TEP-1-102 | 202 | 1 | leaf
SPINE-101 | TEP-1-103 | 101 | 1 | spine
key_end
# Node Management Address - OOB
# Tenant > mgmt > Node Management Address > Static Node Management Address
key_start | oobstnode | node | oobepg | addr | gw | v6addr | v6addrmask | v6gw | mgmtippool | mgmtgrppol | pod
Node | OOB Mgmt EPG | OOB IPv4 Address | OOB IPv4 Gateway | OOB IPv6 Address | OOB IPv6 Mask | OOB IPv6 Gateway | Management IP Pool | Management Group Pool | Pod ID
101 | default | 10.1.1.101/24 | 10.1.1.1 | [5 empty] | 1
201 | default | 10.1.1.201/24 | 10.1.1.1 | [5 empty] | 1
202 | default | 10.1.1.202/24 | 10.1.1.1 | [5 empty] | 1
key_end
# Node Management Address - InB
# Tenant > mgmt > Node Management Address > Static Node Management Address
key_start | inbstnode | node | inbepg | vlan | addr | gw | pod
Node | Inb Mgmt EPG | Vlan | InB IPv4 Address | InB IPv4 Gateway | Pod ID
101 | In-Band-EPG | 98 | 10.1.2.101/24 | 10.1.2.1 | 1
201 | In-Band-EPG | 98 | 10.1.2.201/24 | 10.1.2.1 | 1
202 | In-Band-EPG | 98 | 10.1.2.202/24 | 10.1.2.1 | 1
key_end
# Geolocation
# Fabric > Fabric Policies > Policies > Geolocation
key_start | geolocation | site | building | floor | room | row | rack | node
Site Name | Building Name | Floor Name | Room Name | Row Name | Rack Name | Node ID Name
key_end
#
#
# Fabric Deploy Policy show warnings
# fabdeploypol_payload(show, status):
key_start | fabdeploypol | show
show
key_end
No. of hosts: 18446744073709551616
https://www.ultratools.com/tools/rangeGeneratorResult?globalId=1a8CD11ab1&subnetId=AC1F

## SEC_Fabric_Policies
# Fabric Policies
# Date and Time Policy
# Fabric > Policies > Pod > Date and Time
key_start | ntppol | name | desc | authSt
Name | Description | Authentication State
ACI-FAB1-NTP |  | enabled
key_end
# NTP Servers
key_start | ntpsrv | name | desc | pref | policy | mgmt_epg
Hostname/IP Address | Description | Preferred | Policy Name | Associated Mgmt EPG
10.106.2.1 |  | no | ACI-FAB1-NTP | oob
10.242.135.9 |  | yes | ACI-FAB1-NTP | oob
10.76.7.153 |  | no | ACI-FAB1-NTP | oob
key_end
# SNMP Policy
# Fabric > Policies > Pod > SNMP
key_start | snmppol | name | desc | admSt | snmpcont | snmploc
Name | Description | Admin State | Contact | Location
SNMP_Pol |  | enabled | admin@dc.telkomsel.co.id | TTC
key_end
# Client Group
key_start | snmpcg | name | desc | policy | mgmt_epg
Name | Description | Policy Name | Associated Mgmt EPG
SNMP-Client |  | SNMP_Pol | oob-default
key_end
# Client Entries
key_start | snmpce | cgname | address | clientname | policy
Client Group Name | Address | Client Name | Policy Name
SNMP-Client | 10.175.1.129 | 10.175.1.129 | SNMP_Pol
SNMP-Client | 10.175.1.131 | 10.175.1.131 | SNMP_Pol
SNMP-Client | 10.251.15.85 | 10.251.15.85 | SNMP_Pol
SNMP-Client | 10.75.102.54 | 10.75.102.54 | SNMP_Pol
SNMP-Client | 10.97.160.113 | 10.97.160.113 | SNMP_Pol
key_end
# SNMP V3
key_start | snmpv3 | name | privacy | privacykey | auth | authkey | policy
Name | Privacy | Privacy Key | Authorization | Auth Key | Policy Name
key_end
# Community Policy
key_start | snmpcomm | name | desc | policy
Name | Description | Policy Name
BBTsel |  | SNMP_Pol
ciscoTsel |  | SNMP_Pol
core_ps |  | SNMP_Pol
telkomsel |  | SNMP_Pol
key_end
# Trap Forwarding Server
key_start | snmptrap | ipadd | port | policy
IP Address | Port | Policy Name
10.175.1.129 | 162 | SNMP_Pol
10.175.1.131 | 162 | SNMP_Pol
key_end
# ISIS Policy
# Fabric > Fabric Policies > Pod Policies > ISIS Policy Default
key_start | isis_policy | redistribute_metric
ISIS metric for redist routes
63
key_end
# Power Supply Redundancy
# Fabric > Fabric Policies > Policies > Switch > Power Supply Redundancy
key_start | power_supply_pol | power_supply_redundant
Administrative State
Combined
key_end
# Fabric Node Controls
# Fabric > Fabric Policies > Policies > Monitoring > Fabric Node Controls
key_start | fabricnc | dom
Enable DOM
true
key_end
# Leaf Policy Group
# Fabric > Fabric Policies > Switches > Leaf Switches > Policy Group
key_start | leafpolgrp | name | desc | pwrred | nodectrl
Name | Description | Power Redundancy Policy | Node Control Policy
Leaf-Switch_PG |  |  | default
key_end
# Leaf Profile
# Fabric > Fabric Policies > Switches > Leaf Switches > Profile
key_start | leafprof | name | desc
Name | Description
Leaf-Switch_SP
key_end
# Switch Association
key_start | leafasc | name | from | to | polgroup | profile
Name | From node id | To node id | Policy Group | Leaf Profile
Leaf-Switch_SP | 101 | 102 | Leaf-Switch_PG | Leaf-Switch_SP
key_end
# Spine Policy Group
# Fabric > Fabric Policies > Switches > Spine Switches > Policy Group
key_start | spinepolgrp | name | desc | pwrred | nodectrl
Name | Description | Power Redundancy Policy | Node Control Policy
Spine-Switch_PG |  |  | default
key_end
# Spine Profile
# Fabric > Fabric Policies > Switches > Spine Switches > Profile
key_start | spineprof | name | desc
Name | Description
Spine-Switch_SP
key_end
# Switch Association
key_start | spineasc | name | from | to | polgroup | profile
Name | From node id | To node id | Policy Group | Leaf Profile
Spine-Switch_SP | 103 | 103 | Spine-Switch_PG | Spine-Switch_SP
key_end
# Pod Policy Group
# Pod Policy Group
key_start | podpolgrp | name | desc | ntp | isis | coop | bgprr | mgt | snmp
Name | Description | Date Time Policy | ISIS Policy | Coop Group | BGP Route Reflector Policy | Management Access Policy | SNMP Policy
ACI-POD1-PG |  | ACI-FAB1-NTP | default | default | default | default | SNMP_Pol
key_end
# Pod Profile
# Pod Profile
key_start | podpol | profname | grpname | fromnode | tonode
Name | Policy Group | From Node | To Node
Pod1-Profile | ACI-POD1-PG | 1 | 1
key_end

## SEC_Fabric_Access_Policies
# FABRIC ACCESS POLICIES 1
# Interface Policies
# Fabric > Access Policies > Policies > Interface
# Link Level
key_start | link | name | desc | speed | autoneg
Name | Description | Speed | Auto Negotiation
1G_AUTO |  | 1G | on
1G_OFF |  | 1G | off
10G_AUTO |  | 10G | on
10G_OFF |  | 10G | off
25G_AUTO |  | 25G | on
25G_OFF |  | 25G | off
40G_AUTO |  | 40G | on
40G_OFF |  | 40G | off
100G_AUTO |  | 100G | on
100G_OFF |  | 100G | off
Inherit_AUTO |  | inherit | on
Inherit_OFF |  | inherit | off
key_end
# CDP Interface
key_start | cdp | name | desc | adminSt
Name | Description | Admin State
CDP_Enable |  | yes
CDP_Disable |  | no
key_end
# LLDP Interface
key_start | lldp | name | desc | rxSt | txSt
Name | Description | Receive State | Transmit State
LLDP_Enable |  | yes | yes
LLDP_Disable |  | no | no
key_end
# Port_Channel
key_start | lacp | name | desc | mode
Name | Description | Mode
LACP_ACTIVE |  | active
LACP_PASSIVE |  | passive
STATIC_ON |  | off
MAC_PINNING |  | mac-pin
key_end
# MCP Interface
key_start | mcp | name | desc | adminSt
Name | Description | Admin State
MCP_Enable |  | yes
MCP_Disable |  | no
key_end
# Storm Control
key_start | stormctl | name | desc | rate | burstRate
Name | Description | Rate | Max Burst Rate
Storm_Ctrl_Enable |  | 20 | 30
Storm_Ctrl_Disable |  | 100 | 100
key_end
# Spanning Tree Interface
key_start | stp | name | desc | ctrl
Name | Description | Interface Controls
BPDU-FILTER_enabled |  | bpdu-filter
BPDU-GUARD_enabled |  | bpdu-guard
BPDU-FILTER-GUARD_enabled |  | bpdu-filter,bpdu-guard
key_end
# VLAN Pools
# Fabric > Access Policies > Pools > VLAN
# VLAN Pools
key_start | vlanpool | name | desc | allocmode
Name | Desicription | Allocation Mode
SR_VLAN |  | static
INB_VLAN |  | static
L4-L7_VLAN |  | static
CEE_VLAN |  | static
EBR_VLAN |  | static
vEPG_VLAN |  | static
EBR_ADC_VLAN |  | static
VMM_VLAN |  | dynamic
infra_VLAN |  | static
key_end
# Encap Blocks
key_start | vlan | name | desc | allocmode | vlan_desc | frm_vlan | to_vlan
Name | Desicription | Allocation Mode | vlan_desccription | Range from vlan | Range to vlan
SR_VLAN |  | static |  | 2800 | 2809
SR_VLAN |  | static |  | 2810 | 2819
INB_VLAN |  | static |  | 98 | 98
L4-L7_VLAN |  | static |  | 97 | 97
L4-L7_VLAN |  | static |  | 100 | 100
L4-L7_VLAN |  | static |  | 3110 | 3110
L4-L7_VLAN |  | static |  | 2240 | 2240
L4-L7_VLAN |  | static |  | 3240 | 3240
L4-L7_VLAN |  | static |  | 200 | 200
CEE_VLAN |  | static |  | 2700 | 2716
EBR_VLAN |  | static |  | 100 | 100
EBR_VLAN |  | static |  | 3240 | 3240
EBR_VLAN |  | static |  | 793 | 796
vEPG_VLAN |  | static |  | 264 | 267
vEPG_VLAN |  | static |  | 201 | 202
EBR_ADC_VLAN |  | static |  | 593 | 596
EBR_ADC_VLAN |  | static |  | 793 | 796
VMM_VLAN |  | dynamic |  | 3500 | 3600
infra_VLAN |  | static |  | 4 | 4
key_end
# Physical Domain
# Access Policies > Physical and External Domain > Physical Domain
key_start | phydom | name | desc | secdom | pool
Name | Desicription | Security Domain | VLAN Pool
CEE_PHYDOM |  | all | CEE_VLAN
EBR_ADC_PHYDOM |  | all | EBR_ADC_VLAN
EBR_PHYDOM |  | all | EBR_VLAN
INB_PHYDOM |  | all | INB_VLAN
L4-L7_PHYDOM |  | all | L4-L7_VLAN
vEPG_PHYDOM |  | all | vEPG_VLAN
VMM_PHYDOM |  | all | VMM_VLAN
infra_PHYDOM |  | all | infra_VLAN
key_end
# External L3 Routed Domain
# Access Policies > Physical and External Domain > L3 Domains
key_start | l3outdom | name | secdom | pool
Name | Security Domain | VLAN Pool
SR_L3DOM | all | SR_VLAN
EBR_L3DOM | all | EBR_VLAN
L4-L7_L3DOM | all | L4-L7_VLAN
vEPG_L3DOM | all | vEPG_VLAN
key_end
# Note: blank pool will throw error in fabric
# AAEP
# Access Policies > Policies > Global > AAEP
key_start | aep | name | desc | dom | domtype
Name | Desicription | Domain | Domain Type
RTR_AEP |  | SR_L3DOM | l3dom
RTR_AEP |  | EBR_L3DOM | l3dom
L4-L7_AEP |  | L4-L7_L3DOM | l3dom
SVR_AEP |  | vEPG_L3DOM | l3dom
INB_AEP |  | INB_PHYDOM | phys
RTR_AEP |  | EBR_ADC_PHYDOM | phys
RTR_AEP |  | EBR_PHYDOM | phys
L4_L7_AEP |  | L4-L7_PHYDOM | phys
L4_L7_AEP |  | EBR_ADC_PHYDOM | phys
SVR_AEP |  | CEE_PHYDOM | phys
SVR_AEP |  | vEPG_PHYDOM | phys
infra_AEP |  | infra_PHYDOM | phys
VMM_AEP |  | infra_PHYDOM | phys
VMM_AEP |  | VMM_PHYDOM | phys
key_end
# MCP Instance Policy Default
# Access Policies > Policies > Global > MCP Instance Policy default
key_start | set_default_mcp | name | desc | adminSt | key | ctrl
name | desc | adminSt | key | ctrl
default |  | enabled | Test-key | pdu-per-vlan
key_end
Note on C54: Claudia de Luna: Enter a number between 0 and 100 that specifies a percentage of the total available bandwidth of the port. When the ingress traffic reaches this level during a one second interval, traffic storm control drops traffic for the remainder of the interval. A value of 100 means no traffic storm control. A value of 0 suppresses all traffic
Note on D54: Claudia de Luna: Enter a number between 0 and 100 that specifies a percentage of the total available bandwidth of the port. When the ingress traffic reaches this level, traffic storm control begins to drop traffic.
Note on C113: “all” means not applying secdom
Note on C114: “all” means not applying secdom
Note on C115: “all” means not applying secdom
Note on C116: “all” means not applying secdom
Note on C117: “all” means not applying secdom
Note on C118: “all” means not applying secdom
Note on C119: “all” means not applying secdom
Note on C120: “all” means not applying secdom

## SEC_Tenant_1
# TENANT 1
# Tenants
# Tenant > All Tenants
key_start | createtn | name | desc | vrf | secdom
Name | Description | VRF Name | Security Domain
Fusionsphere |  |  | all
vEPC |  |  | all
CEE |  |  | all
vEPG |  |  | all
PNF |  |  | all
Agnostic |  |  | all
CUPS |  |  | all
Testbed |  |  | all
key_end
# VRF
# Tenant > [TN_Name] > Networking > VRF
key_start | ctx | name | desc | tenant | enfctrl | enfctrldir
Name | Description | Tenant Name | Policy Control Enforment Pref | Policy Control Enforment Dir
global-routing |  | common | enforced | ingress
vpn.gn |  | common | enforced | ingress
vpn.lte-uplane |  | common | enforced | ingress
vpn.lte-cplane |  | common | enforced | ingress
vpn.diameter |  | common | enforced | ingress
vpn.oam |  | common | enforced | ingress
vpn.cups |  | common | enforced | ingress
vpn.radius_f5 |  | common | enforced | ingress
vpn.gi-dns |  | common | enforced | ingress
vpn.gitelkomsel |  | PNF | enforced | ingress
vpn.tdc |  | Testbed | enforced | ingress
key_end
# Configure Route-Map Match Rule
# Tenant > Networking > L3Outs > Route-Map for import and export route control > Associated Matched Rule
# Tenant > Policies > Match Rules
key_start | rmap_match_rule | subjName | tn | prefix | aggregate
Name | Tenant | Match Prefix | Aggregate
GLOBAL_PREFIX | common | 0.0.0.0/0 | yes
GLOBAL_PREFIX | common | 10.114.24.128/26 | no
DIAMETER_PREFIX | common | 0.0.0.0/0 | yes
LTE-UPLANE_PREFIX | common | 0.0.0.0/0 | yes
OAM_PREFIX | common | 0.0.0.0/0 | yes
Gn_PREFIX | common | 0.0.0.0/0 | yes
key_end
# Configure Route-Map Set Rule Community
# Tenant > Networking > L3Outs > Route-Map for import and export route control > Associated Matched Rule
# Tenant > Policies > Set Rules
# unknown:unknown:0:0 means no community
key_start | rmap_set_rules | attrName | tn | criteria | community
Name | Tenant | Set Community Criteria | Community
GLOBAL_RULES | common | append | regular:as2-nn2:64880:305
DIAMETER_RULES | common | none | unknown:unknown:0:0
LTE-UPLANE_RULES | common | none | unknown:unknown:0:0
OAM_RULES | common | none | unknown:unknown:0:0
Gn_RULES | common | none | unknown:unknown:0:0
Rules1 | common | none | unknown:unknown:0:0
Rules2 | common | replace | regular:as2-nn2:64880:305
Rules3 | common | append | regular:as2-nn2:64880:305
key_end
# Configure IP SLA
# Tenant > Policies > Protocol > IP SLA
key_start | ip_sla | sla | tn | desc | multiplier | frequency | type | port
Name | Tenant | Description | Detect Multiplier | SLA Frequency (sec) | SLA Type | Destination Port
ICMP_Probe | PNF | Created with Ansible | 3 | 15 | icmp | 0
Probe1 | common | Created with Ansible | 3 | 15 | icmp | 0
Probe2 | common | Created with Ansible | 3 | 15 | l2ping | 0
Probe3 | common | Created with Ansible | 3 | 15 | tcp | 22
key_end
# Configure L4-L7 Redirect Health Group
# Tenant > Policies > Protocol > L4-L7 Redirect Health Group
key_start | health_group | healthGroup | desc | tn
Name | Description | Tenant
F5-1_IPv4_HG | Created with Ansible | PNF
F5-2_IPv4_HG | Created with Ansible | PNF
F5-3_IPv4_HG | Created with Ansible | PNF
F5-1_IPv6_HG | Created with Ansible | PNF
F5-2_IPv6_HG | Created with Ansible | PNF
F5-3_IPv6_HG | Created with Ansible | PNF
key_end
# Configure L4-L7 Policy-Based Redirect
# Tenant > Policies > Protocol > L4-L7 Policy-Based Redirect
key_start | l4l7_pbr | pbr | desc | tn | hash | ip | mac | healthGroup | sla
Name | Description | Tenant | Hashing Alghorithm | IP | MAC | Redirect Health Group | IP SLA Monitoring Policy
F5_IPv4_PBR | Created with Ansible | PNF | sip | 192.168.110.129 | 00:94:A1:34:EA:4B | F5-1_IPv4_HG | ICMP_Probe
F5_IPv4_PBR | Created with Ansible | PNF | sip | 192.168.110.130 | 00:0A:49:BE:3F:8B | F5-2_IPv4_HG | ICMP_Probe
F5_IPv4_PBR | Created with Ansible | PNF | sip | 192.168.110.131 | 00:94:A1:34:BC:0B | F5-3_IPv4_HG | ICMP_Probe
F5_IPv6_PBR | Created with Ansible | PNF | sip | fd00:aa:bb:10::1 | 00:94:A1:34:EA:4B | F5-1_IPv6_HG | ICMP_Probe
F5_IPv6_PBR | Created with Ansible | PNF | sip | fd00:aa:bb:10::2 | 00:0A:49:BE:3F:8B | F5-2_IPv6_HG | ICMP_Probe
F5_IPv6_PBR | Created with Ansible | PNF | sip | fd00:aa:bb:10::3 | 00:94:A1:34:BC:0B | F5-3_IPv6_HG | ICMP_Probe
key_end
# Configure BFD
# Tenant > Policies > Protocol > BFD
key_start | bfd_policy | bfd | tn | minTX | minRX | echo | multiplier
Name | Tenant | Minimum Transmit Interval (msec) | Minimum Receive Interval (msec) | Echo Receive Interval (msec) | Detection Multiplier
BFD-50 | common | 50 | 50 | 50 | 4
BFD-200 | common | 200 | 200 | 200 | 3
BFD-500 | common | 500 | 500 | 500 | 3
key_end
# Configure OSPF Interface
# Tenant > Policies > Protocol > OSPF
# ctrl option = advert-subnet, bfd, mtu-ignore, passive. Fill in without empty space separated by comma for multiple items
# inherit cost with unspecified
key_start | ospf_int | ospfInterface | desc | tn | networkType | cost | ctrl | deadTime | hello | retransmit | delay
Name | Description | Tenant | Network Type | Cost of Interface | Interface Controls | Dead Interval (sec) | Hello Interval (sec) | Retransmit Interval (sec) | Transmit Delay (sec)
OSPF1 | Created with Ansible | common | bcast | unspecified | advert-subnet | 1 | 3 | 3 | 1
OSPF2 | Created with Ansible | common | p2p | 10 | bfd | 1 | 3 | 3 | 1
OSPF3 | Created with Ansible | common | p2p | unspecified | mtu-ignore | 1 | 3 | 3 | 1
OSPF4 | Created with Ansible | common | bcast | 100 | passive | 1 | 3 | 3 | 1
OSPF5 | Created with Ansible | common | unspecified | unspecified |  | 40 | 10 | 5 | 1
key_end
# Bridge Domain
# Tenant > [TN_Name] > Networking > Bridge Domain
key_start | bd | name | desc | tn | vrf | arpFlood | epClear | dataplaneLearning | ipLearn | mcastAllow | multidestFlood | unicastRoute | l2unkUcast | vmac
Name | Description | Tenant Name | VRF | ARP Flooding | Endpoint Clear | Data Plane Learning | Limit IP Learning | Multicast Allow | Multi Destination Flood | Unicast Route | L2 Unknown Unicast | Virtual MAC
ADC-DNS-SMTP_593_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
ADC-DNS-SMTP_594_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
ADC-DNS-SMTP_595_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
ADC-DNS-SMTP_596_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
AToM-EBR-PAL.1-EBR-SUD.1-NEW_795_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
AToM-EBR-PAL.1-EBR-UPD.1-NEW_793_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
AToM-EBR-PAL.2-EBR-SUD.2-NEW_796_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
AToM-EBR-PAL.2-EBR-UPD.2-NEW_794_BD |  | PNF | vpn.gitelkomsel | yes | no | yes | no | yes | flood | no | flood
F5-INSIDE_BD |  | PNF | vpn.gitelkomsel | yes | no | no | yes | yes | flood | yes | flood
Gi-OAM_100_BD |  | PNF | global-routing | yes | no | yes | yes | yes | flood | yes | proxy
WEB_500_BD |  | Testbed | global-routing | yes | no | yes | no | yes | flood | no | flood
DB_501_BD |  | Testbed | global-routing | yes | no | yes | no | yes | flood | no | flood
key_end
# BD Subnets
key_start | bdnet | ip | mask | desc | tn | bd | scope | virtual_ip | pri_ip | subnet_ctrl
Gateway IP | Gateway Mask | Description | Tenant | Bridge Domain | Scope | Treat as virtual IP address | Make this ip address primary | Subnet Control
192.168.110.169 | 25 |  | PNF | F5-INSIDE_BD | private | no | no | unspecified
fd00:aa:bb:10::29 | 64 |  | PNF | F5-INSIDE_BD | private | no | no | unspecified
10.114.24.193 | 26 |  | PNF | Gi-OAM_100_BD | public | no | no | unspecified
key_end
# BD L3Out Association
key_start | bdl3out | tn | bd | l3out
Tenant Name | Bridge Domain Name | l3out
PNF | Gi-OAM_100_BD | SR-XXX_GLOBAL_L3OUT
key_end
Note on G149: yes or no
Note on H149: yes or no
Note on I149: querier_ip no_gw unspecified

## SEC_Tenant_2
# TENANT 2
# Application Network Profile
# Tenant > [TN_Name] > Application Profile
key_start | anp | name | desc | tn
Name | Description | Tenant
Gi-LAN_AP |  | PNF
Monolith_AP |  | Testbed
key_end
# End Point Group
# Tenant > [TN_Name] > Application Profile > EPG
# EPG
key_start | epg | name | desc | tn | anp | bd
Name | Description | Tenant | Application Profile | Bridge Domain
ADC-DNS-SMTP_593_EPG |  | PNF | Gi-LAN_AP | ADC-DNS-SMTP_593_BD
ADC-DNS-SMTP_594_EPG |  | PNF | Gi-LAN_AP | ADC-DNS-SMTP_594_BD
ADC-DNS-SMTP_595_EPG |  | PNF | Gi-LAN_AP | ADC-DNS-SMTP_595_BD
ADC-DNS-SMTP_596_EPG |  | PNF | Gi-LAN_AP | ADC-DNS-SMTP_596_BD
AToM-EBR-PAL.1-EBR-SUD.1-NEW_795_EPG |  | PNF | Gi-LAN_AP | AToM-EBR-PAL.1-EBR-SUD.1-NEW_795_BD
AToM-EBR-PAL.1-EBR-UPD.1-NEW_793_EPG |  | PNF | Gi-LAN_AP | AToM-EBR-PAL.1-EBR-UPD.1-NEW_793_BD
AToM-EBR-PAL.2-EBR-SUD.2-NEW_796_EPG |  | PNF | Gi-LAN_AP | AToM-EBR-PAL.2-EBR-SUD.2-NEW_796_BD
AToM-EBR-PAL.2-EBR-UPD.2-NEW_794_EPG |  | PNF | Gi-LAN_AP | AToM-EBR-PAL.2-EBR-UPD.2-NEW_794_BD
Gi-OAM_100_EPG |  | PNF | Gi-LAN_AP | Gi-OAM_100_BD
WEB_500_EPG |  | Testbed | Monolith_AP | WEB_500_BD
DB_501_EPG |  | Testbed | Monolith_AP | DB_501_BD
key_end
# EPG Physical Domain Association
key_start | addDom2epg | tn | anp | epg | phydom | encap
Tenant | Application Profile | Application EPGs | Physical Domain | Encapsulation
PNF | Gi-LAN_AP | ADC-DNS-SMTP_593_EPG | EBR_ADC_PHYDOM | 593
PNF | Gi-LAN_AP | ADC-DNS-SMTP_594_EPG | EBR_ADC_PHYDOM | 594
PNF | Gi-LAN_AP | ADC-DNS-SMTP_595_EPG | EBR_ADC_PHYDOM | 595
PNF | Gi-LAN_AP | ADC-DNS-SMTP_596_EPG | EBR_ADC_PHYDOM | 596
PNF | Gi-LAN_AP | AToM-EBR-PAL.1-EBR-SUD.1-NEW_795_EPG | EBR_PHYDOM | 795
PNF | Gi-LAN_AP | AToM-EBR-PAL.1-EBR-UPD.1-NEW_793_EPG | EBR_PHYDOM | 793
PNF | Gi-LAN_AP | AToM-EBR-PAL.2-EBR-SUD.2-NEW_796_EPG | EBR_PHYDOM | 796
PNF | Gi-LAN_AP | AToM-EBR-PAL.2-EBR-UPD.2-NEW_794_EPG | EBR_PHYDOM | 794
PNF | Gi-LAN_AP | Gi-OAM_100_EPG | L4-L7_PHYDOM | 100
key_end
# Contracts (Standard)
# Tenant > [TN_Name] > Contracts
key_start | contractdef | name | scope | tn
Name | Scope | Tenant
WEB_2_DB_CTR | tenant | Testbed
WEB_2_MAIL_CTR | context | Testbed
DIAMETER_CTR | global | common
GLOBAL_CTR | global | common
Gn_CTR | global | common
LTE-UPLANE_CTR | global | common
LTE-CPLANE_CTR | global | common
OAM_CTR | global | common
CUPS_CTR | global | common
Gi_DNS_CTR | global | common
Radius_F5_CTR | global | common
GITELKOMSEL_IPv4_CTR | tenant | PNF
GITELKOMSEL_IPv6_CTR | tenant | PNF
GITELKOMSEL_PBR_IPv4_CTR | tenant | PNF
GITELKOMSEL_PBR_IPv6_CTR | tenant | PNF
key_end
# Contract Subject
# Tenant > [TN_Name] > Contracts > [Contract_Name] > Subject
key_start | ctrsubj | name | tn | subject | revFilter
Name | Tenant | Subject | Reverse Filter Ports
WEB_2_DB_CTR | Testbed | WEB_2_DB_Subj | yes
WEB_2_MAIL_CTR | Testbed | WEB_2_MAIL_Subj | yes
DIAMETER_CTR | common | Permit-All | yes
GLOBAL_CTR | common | Permit-All | yes
Gn_CTR | common | Permit-All | yes
LTE-UPLANE_CTR | common | Permit-All | yes
LTE-CPLANE_CTR | common | Permit-All | yes
OAM_CTR | common | Permit-All | yes
CUPS_CTR | common | Permit-All | yes
Gi_DNS_CTR | common | Permit-All | yes
Radius_F5_CTR | common | Permit-All | yes
GITELKOMSEL_IPv4_CTR | PNF | Permit-All | yes
GITELKOMSEL_IPv6_CTR | PNF | Permit-All | yes
GITELKOMSEL_PBR_IPv4_CTR | PNF | Permit-All | yes
GITELKOMSEL_PBR_IPv6_CTR | PNF | Permit-All | yes
key_end
# Contract Filters
# Tenant > [TN_Name] > Contracts > Filter
key_start | filtr | name_tn | name_fltr | desc | entname | ethtype | arpflag | ipprot | fragmnt | statfl | srcfrom | srcto | destfrom | destto | tcprules
Tenant | Filter Name | Description | Entries Name | Ether Type | ARP Flag | IP Protocol | Match Only Fragment | Stateful | Source from | Source to | Destination from | Destination to | TCP Session Rules
common | Dodo | context | Entries_1 | ip |  | tcp |  | no | 53 | 54 | 60 | 61 | rset,syn,ack,fin
common | test1 |  | entires_2 | arp | arp_reply
common | test1 |  | entires_3 | mac_security
common | test1 |  | entries_4 | mpls_ucast
common | test1 |  | entries_5 | fcoe
Testbed | SQL_Filter |  | SQL | ip |  | tcp |  |  | 1433 | 1434 | 1433 | 1434
Testbed | FTP_Filter |  | FTP | ip |  | tcp |  |  | 21 | 21 | 21 | 21
Testbed | IMAP_Filter |  | IMAP | ip |  | tcp |  |  | 993 | 993 | 993 | 993
key_end
# Bind Contract Subjects to Filters
# Tenant > [TN_Name] > Contracts > [Contract_Name] > Subject
key_start | filter2subject | name | tn | subject | filter
Name | Tenant | Subject | Filter
WEB_2_DB_CTR | Testbed | WEB_2_DB_Subj | FTP_Filter
WEB_2_MAIL_CTR | Testbed | WEB_2_MAIL_Subj | IMAP_Filter
DIAMETER_CTR | common | Permit-All | default
GLOBAL_CTR | common | Permit-All | default
Gn_CTR | common | Permit-All | default
LTE-UPLANE_CTR | common | Permit-All | default
LTE-CPLANE_CTR | common | Permit-All | default
OAM_CTR | common | Permit-All | default
CUPS_CTR | common | Permit-All | default
Gi_DNS_CTR | common | Permit-All | default
Radius_F5_CTR | common | Permit-All | default
GITELKOMSEL_IPv4_CTR | PNF | Permit-All | default
GITELKOMSEL_IPv6_CTR | PNF | Permit-All | default
GITELKOMSEL_PBR_IPv4_CTR | PNF | Permit-All | default
GITELKOMSEL_PBR_IPv6_CTR | PNF | Permit-All | default
key_end
# Contract Peer Entities
# Provider EPGs
# Tenant > [TN_Name] > Contracts > [Contract_Name] > Peer Entities > Provider EPGs
key_start | provcondef | name | tn | anp | epg
Name | Tenant | Application Profile | EPG
WEB_2_DB_CTR | Testbed | Monolith_AP | DB_501_EPG
key_end
# Consumer EPGs
# Tenant > [TN_Name] > Contracts > [Contract_Name] > Peer Entities > Consumer EPGs
key_start | conscondef | name | tn | anp | epg
Name | Tenant | Application Profile | EPG
WEB_2_DB_CTR | Testbed | Monolith_AP | WEB_500_EPG
key_end
# EPG Collection for VRF (vzAny)
# Tenant > [TN_Name] > Networking > VRF > EPG Collection for VRF
# vzAny Provided Contract
key_start | vzany_prov | tn | vrf | contract
Tenant | VRF | Contract
key_end
# vzAny Consumed Contract
key_start | vzany_cons | tn | vrf | contract
Tenant | VRF | Contract
key_end
# Static Binding
# Tenant > [AP_Name] > [EPG_Name] > Static Port
key_start | staticPath | conntype | host | allowed_encap | paths | intpolgrp | mode | immediacy | pod | priencap
Path Type | Host | Port Encap | Path (node) | Path (port) | Mode | Deployment Immediacy | pod | Primary VLAN for Micro-Seg
dpo |  | 793,795 | 101 | PC_SR-XXX.1_100G_IPG | regular | immediate | 1
dpo |  | 793,795 | 101 | PC_EBR-XXX.1_100G_IPG | regular | immediate | 1
dpo |  | 794,796 | 102 | PC_SR-XXX.2_100G_IPG | regular | immediate | 1
dpo |  | 794,796 | 102 | PC_EBR-XXX.2_100G_IPG | regular | immediate | 1
dpo |  | 593,595 | 101 | PC_SR-XXX.1_100G_IPG | regular | immediate | 1
dpo |  | 594,596 | 102 | PC_SR-XXX.2_100G_IPG | regular | immediate | 1
vpc |  | 593-596 | 101-102 | VPC_F5.1_40G_IPG | regular | immediate | 1
vpc |  | 593-596 | 101-102 | VPC_F5.2_40G_IPG | regular | immediate | 1
vpc |  | 593-596 | 101-102 | VPC_F5.3_40G_IPG | regular | immediate | 1
key_end
# Leaf Interface Profile Description
# Fabric > Access Policies > Interfaces > Leaf Interfaces > Profiles
key_start | IntDesc | name | intSel | intDesc
name | Port /Sub port Blocks | Description
key_end
Note on E32: This must be defined first b4 you can define static path binding below
Note on E92: prase: The Ethernet type. The APIC defaults to unspecified when unset during creation.
Note on F92: prase: The arp flag to use when the ether_type is arp. The APIC defaults to unspecified when unset during creation.
Note on G92: prase: The IP Protocol type when ether_type is ip. The APIC defaults to unspecified when unset during creation.
Note on I92: prase: Determines the statefulness of the filter entry.
Note on J92: prase: Used to set the source start port when ip_protocol is tcp or udp. Accepted values are any valid TCP/UDP port range. The APIC defaults to unspecified when unset during creation.
Note on K92: prase: Used to set the source end port when ip_protocol is tcp or udp. Accepted values are any valid TCP/UDP port range. The APIC defaults to unspecified when unset during creation.
Note on L92: prase: Used to set the destination start port when ip_protocol is tcp or udp. Accepted values are any valid TCP/UDP port range. The APIC defaults to unspecified when unset during creation.
Note on M92: prase: Used to set the destination end port when ip_protocol is tcp or udp. Accepted values are any valid TCP/UDP port range. The APIC defaults to unspecified when unset during creation.
Note on N92: prase: Used to set the tcp session rules start port when ip_protocol is tcp or udp.
Note on C161: e.g, Format: 1100-1105 1101 1102
Note on D161: Vpc – specify the vpc leaf node, e.g 101-102 Dpo – specify the leaf node, e.g 101
Note on E161: Acc – port number Vpc – IPG_VPC Dpo – IPG_PC

## SEC_Tenant_3
# L3Outs
# L3Outs OSPF
# Tenant > [TN_Name] > Networking > L3Outs
key_start | l3extout_ospf | name | desc | tn | area | areatype | vrf | l3outdom
Name | Description | Tenant | OSPF Area | OSPF Area Type | VRF | l3outdom
vGGXXX_Gn_OSPF_L3out |  | vEPG | 0 | regular | vpn.gn | vEPG_L3DOM
key_end
# L3Outs Logical Node Profile OSPF
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile
key_start | l3extnodep_ospf | name | desc | tn | l3extout | ospfintprof | rtrid | node | rtrlo | pod
Name | Description | Tenant | L3Outs Name | Logical Interface Profiles | Router ID | Node ID | Use Router ID as Loopback Address | POD
L101-102_NP |  | vEPG | vGGXXX_Gn_OSPF_L3out | vGGXXX1-SVI-70_IP | 1.1.1.1 | 101 | true | 1
L101-102_NP |  | vEPG | vGGXXX_Gn_OSPF_L3out | vGGXXX1-SVI-71_IP | 1.1.1.2 | 102 | true | 1
key_end
# L3Outs Loopback Addresses
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile > Nodes
key_start | l3out_ospf_lo | name | tn | l3extout | pod | node | loopbackAddr
Name | Tenant | L3Outs Name | POD | Node ID | Loopback Address
L101-102_NP | vEPG | vGGXXX_Gn_OSPF_L3out | 1 | 101 | fd00:aa:bb:bb::11
L101-102_NP | vEPG | vGGXXX_Gn_OSPF_L3out | 1 | 102 | fd00:aa:bb:bb::12
key_end
# L3Outs Static Routes
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile > Nodes > Static Routes
key_start | l3out_ospf_static | name | tn | l3extout | pod | node | staticRoute | nexthop | preference | rtctrl
Name | Tenant | L3Outs Name | POD | Node ID | Static Route Prefix | Next Hop IP | Preference | Route Control
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | 1.1.1.1/32 | 10.1.1.1 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | 2.1.1.1/32 | 20.1.1.1 | 1 | bfd
key_end
# L3Outs Logical Interface Profile OSPF
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile > Logical Interface Profile
key_start | l3out_routedint | name | desc | tn | l3extout | ospfintprof | node | int | mtu | ip | mask | conntype | mode | encap | pod
Node Profile Name | Description | Tenant | L3Outs Name | Logical Interface Profiles | Node | Path | MTU | IPV4/IPv6 Primary | Mask | Path Type | Mode | Encapsulation | POD
L101-102_NP |  | vEPG | vGGXXX_Gn_OSPF_L3out | vGGXXX1-SVI-70_IP | 101 | eth1/48 | inherit | 172.23.100.1 | 30 | ext-svi | regular | 70 | 1
L101-102_NP |  | vEPG | vGGXXX_Gn_OSPF_L3out | vGGXXX1-SVI-71_IP | 102 | eth1/48 | inherit | 172.23.100.5 | 30 | ext-svi | regular | 71 | 1
key_end
# L3Outs External EPG OSPF
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > External EPGs
key_start | l3epg | name | desc | tn | l3extout | extip | extipmask
Name | Description | Tenant | L3Outs Name | Subnets IP | Subnets Mask
vGGXXX1_Gn_OSPF_EXT |  | vEPG | vGGXXX_Gn_OSPF_L3out | 0.0.0.0 | 0
key_end
## Below is Special Use Only - Transit Routing
# Add Subnet to L3 Out EPG
#epgsubnet_payload(tn, l3out, l3epg, extip, extmask, scope, status)
key_start | epgsubnet | tn | l3out | l3epg | extip | extmask | scope
tn | l3out | l3epg | extip | extmask | scope
vEPG | vGGXXX1_Gn_OSPF_L3OUT | vGGXXX1_Gn_OSPF_EXT | 10.150.24.0 | 24 | export-rtctrl
vEPG | vGGXXX1_Gn_OSPF_L3OUT | vGGXXX1_Gn_OSPF_EXT | 10.150.23.0 | 24 | import-security
key_end
#iproutep_payload(tn, l3out, l3nodeprof, node, extip, extmask, status) |  | pod
key_start | iproutep | tn | l3out | l3nodeprof | node | extip | extmask | pod
tn | l3out | l3nodeprof | node | extip | extmask | pod
vEPG | vGGXXX1_Gn_OSPF_L3OUT | L301-302_NP | 301 | 10.150.24.0 | 24 | 1
key_end
#ipnexthopp_payload(tn, l3out, l3nodeprof, node, extip, extmask, nexthop, status |  | pod
key_start | ipnexthopp | tn | l3out | l3nodeprof | node | extip | extmask | nexthop | pod
tn | l3out | l3nodeprof | node | extip | extmask | nexthop | pod
vEPG | vGGXXX1_Gn_OSPF_L3OUT | L301-302_NP | 301 | 10.150.24.0 | 24 | 10.150.0.196 | 1
key_end
# L3Outs BGP
# Tenant > [TN_Name] > Networking > L3Outs
key_start | l3out_bgp | name | desc | tn | vrf | l3outdom
Name | Description | Tenant | VRF | l3outdom
SR-XXX_GLOBAL_L3OUT |  | common | global-routing | SR_L3DOM
SR-XXX_Gn_L3OUT |  | common | vpn.gn | SR_L3DOM
SR-XXX_LTE-UPLANE_L3OUT |  | common | vpn.lte-uplane | SR_L3DOM
SR-XXX_OAM_L3OUT |  | common | vpn.oam | SR_L3DOM
SR-XXX_DIAMETER_L3OUT |  | common | vpn.diameter | SR_L3DOM
EBR-Gitelkomsel_L3OUT |  | PNF | vpn.gitelkomsel | EBR_L3DOM
F5-Gitelkomsel_L3OUT |  | PNF | vpn.gitelkomsel | L4-L7_L3DOM
vGGXXX-Gitelkomsel_L3OUT |  | PNF | vpn.gitelkomsel | vEPG_L3DOM
vGGXXX1_Gn_L3OUT |  | vEPG | vpn.gn | vEPG_L3DOM
key_end
# L3Outs Logical Node Profile BGP
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile
key_start | l3out_npf_bgp | name | desc | tn | l3extout | rtrid | node | rtrlo | pod
Name | Description | Tenant | L3Outs Name | Router ID | Node ID | Use Router ID as Loopback Address | POD
L101_NP |  | common | SR-XXX_GLOBAL_L3OUT | 10.114.22.193 | 101 | no | 1
L102_NP |  | common | SR-XXX_GLOBAL_L3OUT | 10.114.22.194 | 102 | no | 1
L101_NP |  | common | SR-XXX_Gn_L3OUT | 10.114.22.195 | 101 | no | 1
L102_NP |  | common | SR-XXX_Gn_L3OUT | 10.114.22.196 | 102 | no | 1
L101_NP |  | common | SR-XXX_LTE-UPLANE_L3OUT | 10.114.22.197 | 101 | no | 1
L102_NP |  | common | SR-XXX_LTE-UPLANE_L3OUT | 10.114.22.198 | 102 | no | 1
L101_NP |  | common | SR-XXX_OAM_L3OUT | 10.114.22.199 | 101 | no | 1
L102_NP |  | common | SR-XXX_OAM_L3OUT | 10.114.22.200 | 102 | no | 1
L101_NP |  | common | SR-XXX_DIAMETER_L3OUT | 10.114.22.201 | 101 | no | 1
L102_NP |  | common | SR-XXX_DIAMETER_L3OUT | 10.114.22.202 | 102 | no | 1
L101-102_NP |  | PNF | EBR-Gitelkomsel_L3OUT | 192.168.160.11 | 101 | no | 1
L101-102_NP |  | PNF | EBR-Gitelkomsel_L3OUT | 192.168.160.12 | 102 | no | 1
L101-102_NP |  | PNF | F5-Gitelkomsel_L3OUT | 192.168.160.11 | 101 | no | 1
L101-102_NP |  | PNF | F5-Gitelkomsel_L3OUT | 192.168.160.12 | 102 | no | 1
L101-102_NP |  | PNF | vGGXXX-Gitelkomsel_L3OUT | 192.168.160.11 | 101 | yes | 1
L101-102_NP |  | PNF | vGGXXX-Gitelkomsel_L3OUT | 192.168.160.12 | 102 | yes | 1
L101-102_NP |  | vEPG | vGGXXX1_Gn_L3OUT | 10.114.22.195 | 101 | no | 1
L101-102_NP |  | vEPG | vGGXXX1_Gn_L3OUT | 10.114.22.196 | 102 | no | 1
key_end
# L3Outs Loopback Addresses
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile > Nodes
key_start | l3out_bgp_lo | name | tn | l3extout | pod | node | loopbackAddr
Name | Tenant | L3Outs Name | POD | Node ID | Loopback Address
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | fd00:aa:bb:cc::12
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | fd00:aa:bb:cc::17
key_end
# L3Outs Static Routes
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile > Nodes > Static Routes
key_start | l3out_bgp_static | name | tn | l3extout | pod | node | staticRoute | nexthop | preference | rtctrl
Name | Tenant | L3Outs Name | POD | Node ID | Static Route Prefix | Next Hop IP | Preference | Route Control
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | 192.168.1.1/32 | 192.168.111.2 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | 192.168.1.1/32 | 192.168.111.10 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | 192.168.1.1/32 | 192.168.111.18 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | 192.168.1.1/32 | 192.168.111.26 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | 192.168.1.1/32 | 192.168.111.34 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | 192.168.1.1/32 | 192.168.111.42 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::2 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::12 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::22 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::a | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::1a | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 101 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::2a | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | 192.168.1.1/32 | 192.168.111.6 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | 192.168.1.1/32 | 192.168.111.14 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | 192.168.1.1/32 | 192.168.111.22 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | 192.168.1.1/32 | 192.168.111.30 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | 192.168.1.1/32 | 192.168.111.38 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | 192.168.1.1/32 | 192.168.111.46 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::6 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::16 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::26 | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::e | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::1e | 1 | bfd
L101-102_NP | PNF | vGGXXX-Gitelkomsel_L3OUT | 1 | 102 | fd00:aa:bb:cc::1/128 | fd00:aa:bb:110::2e | 1 | bfd
key_end
# L3Outs Logical Interface Profile BGP
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile > Logical Interface Profile
# Path Type: Routed Interface: l3-port, Routed Sub-Interface = sub-interface, SVI = ext-svi
# Mode: Used for SVI Valid Values 'native' for 802.1P, 'untagged' for Access, 'regular' for Trunk
# Encapsulation: Vlan when using conntype 'sub-interface' or 'ext-svi'
# Path e.g: eth1/1, PC_EXAMPLE_IPG, VPC_EXAMPLE_IPG
key_start | l3out_ipf_bgp_routed | name | desc | tn | l3extout | npf | node | int | mtu | ip | mask | conntype | mode | encap | pod
Name | Description | Tenant | L3Outs Name | Node Profile Name | Node ID | Path | MTU | IPV4/IPv6 Primary | Mask | Path Type | Mode | Encapsulation | POD
SR-XXX-SVI-2800_IP |  | common | SR-XXX_GLOBAL_L3OUT | L101_NP | 101 | PC_SR-XXX.1_100G_IPG | inherit | 10.114.22.130 | 30 | ext-svi | regular | 2800 | 1
SR-XXX-SVI-2801_IP |  | common | SR-XXX_GLOBAL_L3OUT | L102_NP | 102 | PC_SR-XXX.2_100G_IPG | inherit | 10.114.22.150 | 30 | ext-svi | regular | 2801 | 1
SR-XXX-SVI-2802_IP |  | common | SR-XXX_Gn_L3OUT | L101_NP | 101 | PC_SR-XXX.1_100G_IPG | inherit | 10.114.22.134 | 30 | ext-svi | regular | 2802 | 1
SR-XXX-SVI-2803_IP |  | common | SR-XXX_Gn_L3OUT | L102_NP | 102 | PC_SR-XXX.2_100G_IPG | inherit | 10.114.22.154 | 30 | ext-svi | regular | 2803 | 1
SR-XXX-SVI-2804_IP |  | common | SR-XXX_LTE-UPLANE_L3OUT | L101_NP | 101 | PC_SR-XXX.1_100G_IPG | inherit | 10.114.22.138 | 30 | ext-svi | regular | 2804 | 1
SR-XXX-SVI-2805_IP |  | common | SR-XXX_LTE-UPLANE_L3OUT | L102_NP | 102 | PC_SR-XXX.2_100G_IPG | inherit | 10.114.22.158 | 30 | ext-svi | regular | 2805 | 1
SR-XXX-SVI-2806_IP |  | common | SR-XXX_OAM_L3OUT | L101_NP | 101 | PC_SR-XXX.1_100G_IPG | inherit | 10.114.22.142 | 30 | ext-svi | regular | 2806 | 1
SR-XXX-SVI-2807_IP |  | common | SR-XXX_OAM_L3OUT | L102_NP | 102 | PC_SR-XXX.2_100G_IPG | inherit | 10.114.22.162 | 30 | ext-svi | regular | 2807 | 1
SR-XXX-SVI-2808_IP |  | common | SR-XXX_DIAMETER_L3OUT | L101_NP | 101 | PC_SR-XXX.1_100G_IPG | inherit | 10.114.22.146 | 30 | ext-svi | regular | 2808 | 1
SR-XXX-SVI-2809_IP |  | common | SR-XXX_DIAMETER_L3OUT | L102_NP | 102 | PC_SR-XXX.2_100G_IPG | inherit | 10.114.22.166 | 30 | ext-svi | regular | 2809 | 1
EBR-XXX-SVI-3240-IPv4_IP |  | PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | 101 | PC_EBR-XXX.1_100G_IPG | inherit | 192.168.46.41 | 30 | ext-svi | regular | 3240 | 1
EBR-XXX-SVI-3240-IPv4_IP |  | PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | 102 | PC_EBR-XXX.2_100G_IPG | inherit | 192.168.46.42 | 30 | ext-svi | regular | 3240 | 1
EBR-XXX-SVI-3240-IPv6_IP |  | PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | 101 | PC_EBR-XXX.1_100G_IPG | inherit | fd00:aa:11:a7::29 | 127 | ext-svi | regular | 3240 | 1
EBR-XXX-SVI-3240-IPv6_IP |  | PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | 102 | PC_EBR-XXX.2_100G_IPG | inherit | fd00:aa:11:a7::2a | 127 | ext-svi | regular | 3240 | 1
vGGXXX-SVI-201_IPv4_IP |  | PNF | vGGXXX-Gitelkomsel_L3OUT | L101-102_NP | 101 | eth1/36 | inherit | 192.168.111.1 | 30 | ext-svi | regular | 101 | 1
vGGXXX-SVI-201_IPv6_IP |  | PNF | vGGXXX-Gitelkomsel_L3OUT | L101-102_NP | 102 | eth1/36 | inherit | fd00:aa:bb:110::1 | 126 | ext-svi | regular | 102 | 1
key_end
# L3Outs Logical Interface Profile VPC BGP
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > Logical Node Profile > Logical Interface Profile
key_start | l3out_ipf_vpc_svi | name | desc | tn | l3extout | npf | mode | encap | node | int | mtu | ipA | ipB | vip
Name | Description | Tenant | L3Outs Name | Logical Node Profile | Mode | Encapsulation | Node | Interfaces | MTU | Side A IP | Side B IP | Secondary IP Address
F5-SVI-2240-IPv4_IP |  | PNF | F5-Gitelkomsel_L3OUT | L101-102_NP | regular | 2240 | 101-102 | VPC_F5.1_40G_IPG | inherit | 192.168.246.41/25 | 192.168.246.42/25 | 192.168.246.43/25
F5-SVI-2240-IPv4_IP |  | PNF | F5-Gitelkomsel_L3OUT | L101-102_NP | regular | 2240 | 101-102 | VPC_F5.2_40G_IPG | inherit | 192.168.246.41/25 | 192.168.246.42/25 | 192.168.246.43/25
F5-SVI-2240-IPv4_IP |  | PNF | F5-Gitelkomsel_L3OUT | L101-102_NP | regular | 2240 | 101-102 | VPC_F5.3_40G_IPG | inherit | 192.168.246.41/25 | 192.168.246.42/25 | 192.168.246.43/25
F5-SVI-2240-IPv6_IP |  | PNF | F5-Gitelkomsel_L3OUT | L101-102_NP | regular | 2240 | 101-102 | VPC_F5.1_40G_IPG | inherit | fd00:aa:cc:40a0::29/64 | fd00:aa:cc:40a0::2a/64 | fd00:aa:cc:40a0::2b/64
F5-SVI-2240-IPv6_IP |  | PNF | F5-Gitelkomsel_L3OUT | L101-102_NP | regular | 2240 | 101-102 | VPC_F5.2_40G_IPG | inherit | fd00:aa:cc:40a0::29/64 | fd00:aa:cc:40a0::2a/64 | fd00:aa:cc:40a0::2b/64
F5-SVI-2240-IPv6_IP |  | PNF | F5-Gitelkomsel_L3OUT | L101-102_NP | regular | 2240 | 101-102 | VPC_F5.3_40G_IPG | inherit | fd00:aa:cc:40a0::29/64 | fd00:aa:cc:40a0::2a/64 | fd00:aa:cc:40a0::2b/64
key_end
# L3Outs Peer Connectivity BGP
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name]
# Peer Type: loopback or interfaces
# BGP Controls : Multiple Comma-Delimited values are allowed. E.g., "allow-self-as,as-override". Allowed values: allow-self-as, as-override, dis-peer-as-check, nh-self, send-com, send-ext-com.
# VPC: TRUE or FALSE
# Path e.g: eth1/1, PC_EXAMPLE_IPG, VPC_EXAMPLE_IPG
key_start | bgp_peer | tn | l3extout | npf | peer_ip | asn | ttl | ctrl | password | peer_type | vpc | peerCtrl | adminSt | node | pod | lipf | int
Tenant | L3Outs Name | Logical Node Profile | Peer Address | Remote ASN | EBGP Multihop TTL | BGP Controls | Password | Peer Type | VPC | Peer Control | Admin State | Node | Pod | Logical Interface Profile | Path
common | SR-XXX_GLOBAL_L3OUT | L101_NP | 10.114.22.129 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 101 | 1 | SR-XXX-SVI-2800_IP | PC_SR-XXX.1_100G_IPG
common | SR-XXX_GLOBAL_L3OUT | L102_NP | 10.114.22.149 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 102 | 1 | SR-XXX-SVI-2801_IP | PC_SR-XXX.2_100G_IPG
common | SR-XXX_Gn_L3OUT | L101_NP | 10.114.22.137 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 101 | 1 | SR-XXX-SVI-2802_IP | PC_SR-XXX.1_100G_IPG
common | SR-XXX_Gn_L3OUT | L102_NP | 10.114.22.157 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 102 | 1 | SR-XXX-SVI-2803_IP | PC_SR-XXX.2_100G_IPG
common | SR-XXX_LTE-UPLANE_L3OUT | L101_NP | 10.114.22.145 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 101 | 1 | SR-XXX-SVI-2804_IP | PC_SR-XXX.1_100G_IPG
common | SR-XXX_LTE-UPLANE_L3OUT | L102_NP | 10.114.22.165 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 102 | 1 | SR-XXX-SVI-2805_IP | PC_SR-XXX.2_100G_IPG
common | SR-XXX_OAM_L3OUT | L101_NP | 10.114.22.133 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 101 | 1 | SR-XXX-SVI-2806_IP | PC_SR-XXX.1_100G_IPG
common | SR-XXX_OAM_L3OUT | L102_NP | 10.114.22.153 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 102 | 1 | SR-XXX-SVI-2807_IP | PC_SR-XXX.2_100G_IPG
common | SR-XXX_DIAMETER_L3OUT | L101_NP | 10.114.22.141 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 101 | 1 | SR-XXX-SVI-2808_IP | PC_SR-XXX.1_100G_IPG
common | SR-XXX_DIAMETER_L3OUT | L102_NP | 10.114.22.161 | 64689 | 1 | send-com,send-ext-com |  | interfaces | FALSE | bfd | enabled | 102 | 1 | SR-XXX-SVI-2809_IP | PC_SR-XXX.2_100G_IPG
PNF | vGGXXX-Gitelkomsel_L3OUT | L101-102_NP | 192.168.1.1 | 64881 | 2 |  |  | loopback | TRUE | bfd | enabled | 101 | 1 | vGGXXX-SVI-201_IPv4_IP | eth1/36
PNF | vGGXXX-Gitelkomsel_L3OUT | L101-102_NP | fd00:aa:bb:cc::1 | 64881 | 2 |  |  | loopback | TRUE | bfd | enabled | 101 | 1 | vGGXXX-SVI-201_IPv6_IP | eth1/36
PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | 192.168.46.28 | 23693 | 1 |  |  | interfaces | FALSE | bfd | enabled | 101 | 1 | EBR-XXX-SVI-3240-IPv4_IP | PC_EBR-XXX.1_100G_IPG
PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | 192.168.46.29 | 23693 | 1 |  |  | interfaces | FALSE | bfd | enabled | 102 | 1 | EBR-XXX-SVI-3240-IPv4_IP | PC_EBR-XXX.2_100G_IPG
PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | fd00:aa:11:a7::1c | 23693 | 1 |  |  | interfaces | FALSE | bfd | enabled | 101 | 1 | EBR-XXX-SVI-3240-IPv6_IP | PC_EBR-XXX.1_100G_IPG
PNF | EBR-Gitelkomsel_L3OUT | L101-102_NP | fd00:aa:11:a7::1d | 23693 | 1 |  |  | interfaces | FALSE | bfd | enabled | 102 | 1 | EBR-XXX-SVI-3240-IPv6_IP | PC_EBR-XXX.2_100G_IPG
key_end
# L3Outs External EPG BGP
# Tenant > [TN_Name] > Networking > L3Outs > [L3out_Name] > External EPGs
# scope = import-security,export-rtctrl,shared-rtctrl,shared-security,import-rtctrl, default is import-security. Multiple Comma-Delimited values are allowed E.g: import-security,shared-rtctrl
# aggregate = export-rtctrl,shared-rtctrl,import-rtctrl. Multiple Comma-Delimited values are allowed
key_start | extepg | name | desc | tn | l3extout | extip | extipmask | scope | aggregate
External EPG | Description | Tenant | L3Outs Name | IP | Mask | Scope | Aggregate
SR-XXX_GLOBAL_EXT |  | common | SR-XXX_GLOBAL_L3OUT | 0.0.0.0 | 0 | shared-rtctrl,import-security
SR-XXX_Gn_EXT |  | common | SR-XXX_Gn_L3OUT | 0.0.0.0 | 0 | import-security
SR-XXX_LTE-UPLANE_EXT |  | common | SR-XXX_LTE-UPLANE_L3OUT | 0.0.0.0 | 0 | import-security
SR-XXX_OAM_EXT |  | common | SR-XXX_OAM_L3OUT | 0.0.0.0 | 0 | import-security
SR-XXX_DIAMETER_EXT |  | common | SR-XXX_DIAMETER_L3OUT | 0.0.0.0 | 0 | import-security
EBR-Gitelkomsel-IPv4_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 0.0.0.0 | 1 | import-security
EBR-Gitelkomsel-IPv4_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 128.0.0.0 | 1 | import-security
EBR-Gitelkomsel-IPv4_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 182.2.228.0 | 23 | export-rtctrl
EBR-Gitelkomsel-IPv4_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 182.2.230.0 | 23 | export-rtctrl
EBR-Gitelkomsel-IPv4_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 182.2.232.0 | 23 | export-rtctrl
EBR-Gitelkomsel-IPv6_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | :: | 1 | import-security
EBR-Gitelkomsel-IPv6_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 8000:: | 1 | import-security
EBR-Gitelkomsel-IPv6_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 2404:c0:4aa0:: | 44 | export-rtctrl
EBR-Gitelkomsel-IPv6_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 2404:c0:4ab0:: | 44 | export-rtctrl
EBR-Gitelkomsel-IPv6_EXT |  | PNF | EBR-Gitelkomsel_L3OUT | 2404:c0:4ac0:: | 44 | export-rtctrl
F5-Gitelkomsel-IPv4_EXT |  | PNF | F5-Gitelkomsel_L3OUT | 0.0.0.0 | 0 | export-rtctrl
F5-Gitelkomsel-IPv4_EXT |  | PNF | F5-Gitelkomsel_L3OUT | 182.2.228.0 | 23 | import-security
F5-Gitelkomsel-IPv4_EXT |  | PNF | F5-Gitelkomsel_L3OUT | 182.2.230.0 | 23 | import-security
F5-Gitelkomsel-IPv4_EXT |  | PNF | F5-Gitelkomsel_L3OUT | 182.2.232.0 | 23 | import-security
F5-Gitelkomsel-IPv6_EXT |  | PNF | F5-Gitelkomsel_L3OUT | :: | 0 | export-rtctrl
F5-Gitelkomsel-IPv6_EXT |  | PNF | F5-Gitelkomsel_L3OUT | 2404:c0:4aa0:: | 44 | import-security
F5-Gitelkomsel-IPv6_EXT |  | PNF | F5-Gitelkomsel_L3OUT | 2404:c0:4ab0:: | 44 | import-security
F5-Gitelkomsel-IPv6_EXT |  | PNF | F5-Gitelkomsel_L3OUT | 2404:c0:4ac0:: | 44 | import-security
vGGXXX-Gitelkomsel-IPv4_EXT |  | PNF | vGGXXX-Gitelkomsel_L3OUT | 0.0.0.0 | 0 | export-rtctrl
vGGXXX-Gitelkomsel-IPv6_EXT |  | PNF | vGGXXX-Gitelkomsel_L3OUT | :: | 0 | export-rtctrl
key_end
# Attach Contract to EXTEPG
# Tenant > Networking > External Routed Out
key_start | contract | name | tn | l3extout | extepg | contract_type | extipmask
Contract | Tenant | L3Outs Name | External EPG | Contract Type
GLOBAL_CTR | common | SR-XXX_GLOBAL_L3OUT | SR-XXX_GLOBAL_EXT | provider
GLOBAL_CTR | common | SR-XXX_GLOBAL_L3OUT | SR-XXX_GLOBAL_EXT | consumer
DIAMETER_CTR | common | SR-XXX_DIAMETER_L3OUT | SR-XXX_DIAMETER_EXT | provider
DIAMETER_CTR | common | SR-XXX_DIAMETER_L3OUT | SR-XXX_DIAMETER_EXT | consumer
Gn_CTR | common | SR-XXX_Gn_L3OUT | SR-XXX_Gn_EXT | provider
Gn_CTR | common | SR-XXX_Gn_L3OUT | SR-XXX_Gn_EXT | consumer
LTE-UPLANE_CTR | common | SR-XXX_LTE-UPLANE_L3OUT | SR-XXX_LTE-UPLANE_EXT | provider
LTE-UPLANE_CTR | common | SR-XXX_LTE-UPLANE_L3OUT | SR-XXX_LTE-UPLANE_EXT | consumer
OAM_CTR | common | SR-XXX_OAM_L3OUT | SR-XXX_OAM_EXT | provider
OAM_CTR | common | SR-XXX_OAM_L3OUT | SR-XXX_OAM_EXT | consumer
GITELKOMSEL_IPv4_CTR | PNF | EBR-Gitelkomsel_L3OUT | EBR-Gitelkomsel-IPv4_EXT | provider
GITELKOMSEL_IPv4_CTR | PNF | F5-Gitelkomsel_L3OUT | F5-Gitelkomsel-IPv4_EXT | consumer
GITELKOMSEL_IPv6_CTR | PNF | EBR-Gitelkomsel_L3OUT | EBR-Gitelkomsel-IPv6_EXT | provider
GITELKOMSEL_IPv6_CTR | PNF | F5-Gitelkomsel_L3OUT | F5-Gitelkomsel-IPv6_EXT | consumer
GITELKOMSEL_PBR_IPv4_CTR | PNF | EBR-Gitelkomsel_L3OUT | EBR-Gitelkomsel-IPv4_EXT | provider
GITELKOMSEL_PBR_IPv4_CTR | PNF | vGGXXX-Gitelkomsel_L3OUT | vGGXXX-Gitelkomsel-IPv4_EXT | consumer
GITELKOMSEL_PBR_IPv6_CTR | PNF | EBR-Gitelkomsel_L3OUT | EBR-Gitelkomsel-IPv6_EXT | provider
GITELKOMSEL_PBR_IPv6_CTR | PNF | vGGXXX-Gitelkomsel_L3OUT | vGGXXX-Gitelkomsel-IPv6_EXT | consumer
key_end
# Configure Route-Map
# Tenant > Networking > L3Outs > Route map for import and export route control > default-export
key_start | route_map | name | tn | l3extout | type | order | attrName | subjName
Contexts | Tenant | L3Outs Name | Type | Order | Set Rule | Match Rule
GLOBAL_Route-Map | common | SR-XXX_GLOBAL_L3OUT | combinable | 1 | GLOBAL_PREFIX | ALL-PREFIX
Gn_Route-Map | common | SR-XXX_Gn_L3OUT | global | 1 | Gn_PREFIX | ALL-PREFIX
LTE-UPLANE_Route-Map | common | SR-XXX_LTE-UPLANE_L3OUT | global | 1 | LTE-UPLANE_PREFIX | ALL-PREFIX
OAM_Route-Map | common | SR-XXX_OAM_L3OUT | global | 1 | OAM_PREFIX | ALL-PREFIX
DIAMETER_Route-Map | common | SR-XXX_DIAMETER_L3OUT | global | 1 | DIAMETER_PREFIX | ALL-PREFIX
key_end
Note on F14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Router ID Must Be Fill
Note on I32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: BFD Enable on Static Route ' means uncheck
Note on E96: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Router ID Must Be Fill
Note on I130: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: BFD Enable on Static Route ' means uncheck